1、按下图箭头方向按压卡扣，将底壳松开（Press the buckle of the arrow in the figure below to release the bottom shell）

- 装上电池，用回形针按如图形圆圈里面的按键，看到红色LED灯闪烁，进入校准模式(Install the battery,press the button inside the graphic circle with a paper clip and see the red LED flashing, entering calibration mode)

- 将机子放在户外空旷地带，远离人群等容易产生CO2的干扰，放置5分钟左右，机子会自动完成校准。（Place the machine in an outdoor open area, away from crowds . After about 5 minutes, the machine will automatically complete calibration.）

- 如果5分钟以后LED仍在闪烁，需更换CO2更稳定的环境（没有人群，没有大风，没有动物的空旷地带），重新操作1-3步骤(If the LED is still flashing after 5 minutes, you need to replace the more stable CO2 environment [No crowds, no wind, no animals open place] and restart steps 1-3）